# Medela Pump use Protocol

# Clinical Suggestions for Use

If no physician order exists, use the following as a guide: (Physician order always over-rides)

- Use 60-80 mm of Hg

- Use on continuous for the first 48 hours and then use on intermittent

- Change the dressing initially after 48 hours and then 2-3 times a week

- Un-hook patient from device for convenience i.e, therapy, procedures, etc. try to ensure at least eight hours of negative pressure per day.